## Slide 1
Francesco Leone
Catania University - Department of Physics and Astronomy
INAF - Catania Astrophysical Observatory
PLUS – July 27, 2020
High-Resolution Spectropolarimetry from Astrophysics to Laboratory Plasma and back

## Slide 2: Background: Astrophysics Stellar Magnetic Fields Radiative Transfer in Magnetised Atmospheres

## Slide 3
Stokes profiles
Dl = 4.67 10-13 l2geff B
High Resolution Spectropolarimetry to Detect and Measure Cosmic Magnetic FIelds

## Slide 4
1978
2004
Information on Magnetic Fields are coded in
high resolution Stokes profiles of spectral lines

## Slide 5
Stift, Leone & Cowley 2012, MNRAS 419, 2912
COSSAM
COdice per la Sintesi Spettrale nelle Atmosfere Magnetiche
LTE approximation
Zeeman Splitting
Polarised Radiative Transfer
|B|= 5 kG
synthetic
observed

## Slide 6: HD94660 V=6.08 vsin(i)=3km/s B|| = -2.8kG

## Slide 7
Recovering magnetic geometries

## Slide 8
If High Res is not possible:

## Slide 9: If S/N is low: we co-add spectral lines

## Slide 11
Prot = 11.5 days
Pcycle = 2.95 years

## Slide 12
Instrumental Background: High Resolution Spectropolarimetry
1999 2001 2012 2014 2016 2019
High time resolution
photopolarimeter

## Slide 13: In 2016 High-Resolution Spectropolarimetry from Astrophysics to Laboratory Plasma

## Slide 14: We are full of Laboratory Plasmas
Magnetic Confinement Plasma
Proto-Sphere
ENEA - Frascati
Discharge Produced Plasma
ENEA - Frascati
Electron Cyclotron Resonance Plasma
Centro Nazionale di Adroterapia Oncologica - Pavia
Laser Produced Plasma
INFN - Catania

## Slide 15
Laboratory and Astrophysical Plasmas
electron temperature (K)
electron density (cm-3)
Stellar Atmospheres
Stellar
Magnetospheres
Solar
Corona
Magnetic
Reconnection
Chromosphere and Transition Region
ECR
PLASMAS
AISHa
FPT
DPP
Laser plasma

## Slide 16
Limits of present Optical Emission Spectroscopy
No spatial information
lines from cold and hot regions
no emitters localisation
Spectral Low-Resolution
R =l/Dl = 250: no identification of lines
separated less than 2 nm at 500 nm
Field of view
400
450
500
550
600
650
700
Wavelength [nm]
0
20
40
60
80
100
I
n
t
e
n
s
i
t
y
[
A
.
U
.
]
H
434 nm
H
656 nm
H
486 nm
H2
Fulcher band
600-640 nm
R = l/Dl = 250
STATE OF THE ART
Dl = 2 nm
R = 250
From Astrophysics to Laboratory Plasma

## Slide 17
R = l/Dl = 5000
R = 100000
Spectral line identification
The importance of spectral high resolution
Solar Spectrum

## Slide 18
Spettrografo Alta Risoluzione Galileo
370-1000 nm
R =l/Dl= 164000
Catania
Dl = 0.003 nm
From Astrophysics to Laboratory Plasma
August 2017

## Slide 19
74 Aqr
Spectral line identification
Isotopic shift
The importance of spectral high resolution
0.007 nm
R = 180 000
Hg II
l = 400 nm
R = 100000  Dl = 0.004 nm
R = 250  Dl = 1.6 nm
Dlisot < 0.01 nm
Dl = l/R ≤ Dlisot
[Catanzaro & Leone 2006, MNRAS, 373, 330]

## Slide 20
Spectral line identification
Isotopic shift
Velocity fields
(Doppler shift)
DlD
500 501 502 503 504 505 506 507 508 509 510 511 512 513
500 501 502 503 504 505 506 507 508 509 510 511 512 513
v
Plasma bubble at rest
Plasma bubble
moving away
fiber
fiber
light
light
v
Dl ≤ DlD
vmin = c Dl/l = c/R
v = c DlD /l
The importance of spectral high resolution
Synthetic
Observed
R = 250  vmin = 1200 km/s  Kmin = 3 × 105 eV
R = 5000  vmin = 60 km/s  Kmin = 750 eV
R = 10000  vmin = 30 km/s  Kmin = 190 eV
R = 100000  vmin = 3 km/s  Kmin = 1.9 eV
min. measurable
Kinetic Energy
for plasma of 40Ar

## Slide 21
Spectral line identification
Isotopic shift
Velocity fields
Line broadening (cold ne)
Thermal
dense
rarefied
l éÅ]
Hg
He I l4388 Å
Collisional
The importance of spectral high resolution
Dl ≤ FWHM
l = 500 nm, Dl = FWHM
R = 5000  FWHMmin = 0.1 nm
R = 10000  FWHMmin = 0.05 nm
R = 100000  FWHMmin = 0.005 nm
R = 250  FWHMmin = 2 nm

## Slide 22
From Astrophysics to Laboratory Plasma
Notes: Spettroscopia ad alta risoluzione sulla riga del Deuterio alpha

## Slide 23
MAPS – 3D
MAgnetised Plasma Spectropolarimetry – 3D
grant-giovani CSN5-INFN, PI M. Giarrusso
Three polarimeters
fiber-linked to
SARG
to point-by-point (1 mm3)
map the
FPT
magnetic field
From Astrophysics to Laboratory Plasma
2018
Notes: Nel mio progetto si propone invece la realizzazione di 3 polarimetri che verranno disposti perpendicolarm.
L’INAF-OACT si occuperà della realizzazione di 3 polarimetri fiber-linked, che verranno implementati nella FPT al fine di ottenere una caratterizzazione 3D del c.m. attraverso l’emissione spettropolarimetrica del plasma (l’analisi dei Parametri di Stokes)

## Slide 24
Polarimeters@Osservatorio Astrofisico di Catania
Spectra of hollow cathode Th-Ne lamp
with FRESCO (R=20000)
without B
with |B|≈ 100 G, along B
From Astrophysics to Laboratory Plasma

## Slide 25
Stift, Leone & Cowley 2012, MNRAS 419, 2912
COSSAM
COdice per la Sintesi Spettrale nelle Atmosfere Magnetiche
LTE populations
Zeeman Splitting
Polarised Radiative Transfer
|B|= 5 kG
synthetic
observed
1939
2004

## Slide 26
SOHO (Dec. 1995)
CHIANTI
non-LTE populations
Unpolarised Radiative Transfer

## Slide 27
Magnetised Plasmas
Merging CHIANTI & COSSAM
COSSAM
LTE populations
Zeeman Splitting
Polarised Radiative Transfer
CHIANTI
non-LTE populations
Unpolarised Radiative Transfer
Z-CHIANTI
non-LTE populations
Zeeman Splitting
Polarised Radiative Transfer
From Astrophysics to Laboratory Plasma

## Slide 28
Fe XXIV 8194.0889 Å
CHIANTI
Fe XXIV 8194.0889 Å, |B|=5 Tesla, θ=30°, χ=50°
Zeeman CHIANTI
θ
B
χ

## Slide 29
Zeeman CHIANTI – The four Stokes profiles
I
Q
U
V

## Slide 30
LASER PLASMAS
High spatial, temporal and spectral resolution Spectroscopy
From Astrophysics to Laboratory Plasma
Theory well known
Best match for
Te = 2.5 eV
ne= 1018 cm-3

## Slide 31
An application to X-ray spectra from Frascati Tokamak Unit
From Astrophysics to Laboratory Plasma

## Slide 32
Back to Astrophysics
In 1814 the Fraunhofer solar spectra were unknown unknowns
Notes: Cose di cui non abbiamo la consapevolezza di non conoscere

## Slide 34
l log(gf) el E1 E2 g1 g2 …
Nowdays, solar and the stellar spectra are known knowns
thanks to
an almost complete atomic database for interpretation of spectral lines
of neutral and low ionised species
observed
synthetic
Solar Spectrum

## Slide 35
Atomic data for
highly ionised species
are current
unknown knowns

## Slide 36
Atomic data for
highly ionised species
are current
unknown knowns
Electron Beam Ion Trap

## Slide 37
Plasma Traps @ LNS
ne=1010-1013
Te=0.1 – 100 keV
SARG dal
LNS-INFN
TNG
Gennaio 2018
Grant INFN
3D plasma Spectropolarimetty
Gennaio 2018
Multi-Band High Time Resolution
Plasma Imaging
Settembre 2019
Grant ASI-INAF (12/2019)
UV spectrograph
70-400 nm @ R=20,000
TIME
Agosto 2017
Primary Goal: An atomic database for highly ionised species
Plasma Synthetic Spectra

## Slide 38
In a step-by-step approach
Building an Atomic Database for UV transitions
for present space missione

## Slide 39
Spectra in three ranges
700 – 1000 Å
1000 – 2400 Å
2400 – 4200 Å
New Atomic Data
WP: PLASMA TRAPS
WP: UV SPECTROGRAPH
WP: SPECTROSCOPY
Element-by-element
plasma emission
UV èchelle spectrograph
700 – 4200 Å
R = l/Dl = 20000
Building an Atomic Database for UV transitions
PI M. Giarrusso
(grant “Analisi Dati, Modellistica, Analisi in laboratorio e/o su campo, Ricerca e Sviluppo” under the ASI-INAF agreement n.2018-16-HH.0, experimental program 2020-2022)
LAPSUS LAboratory Plasma Spectroscopy for Ultraviolet Space

## Slide 40
Grazie