## Slide 1
Laser-Driven Electron and Ion Acceleration:
Established Results and Progress
Conferenza Italiana sui Plasmi (CIP) 2026, Frascati
M. Salvadori, F. Avella, F. Baffigi, G. Bandini, F. Brandi, G. Cristoforetti, M. Ezzat, A. Fregosi, L. Fulgentini, D. Gregocki, L. Labate, P. Koester, D. Palla, S. Piccinini, S. Vlachos and L. A. Gizzi

## Slide 2: Intense Laser Irradiation Laboratory (ILIL)
Relatore:
Evento:
Nome relatore
USER CONTROL
ROOM
TESTING AND PROTOTYPING
LASER FRONT END
POWER AMPLIFIER Up to 240 TW
SHIELDED TARGET AREA FOR PARTICLE ACCELERATION
NEW BEAMLINE FOR PRE-CLINICAL STUDIES
LASER DEV. LAB
NEW HIGH DOSE UNDERGROUND BUNKER
LASER CAPABILITIES:
• 220 TW, Ti:Sa, up to 5 Hz, 23 fs;
• 1kHz 20 mJ Ti:Sa + 2 mJ OPA @ 2m
• 100 Hz, 1J, TiSA (procurement in progress)
L. A. Gizzi et al., High Power Laser Science and Engineering, 9 e10 (2021)

## Slide 3: ILIL: Group Members and Activities
Evento:
construction undergoing as we speak…
Leonida A. GIZZI* (Head of lab)
Fernando BRANDI
Gabriele CRISTOFORETTI
Petra KOESTER
Luca LABATE*
Federica BAFFIGI
Lorenzo FULGENTINI
Gabriele BANDINI (term)
Mohamed EZZAT (term)
New high-dose underground
bunker
*also at INFN
→ Laser-Plasma Interaction in condition relevant for ICF
→ Laser-driven electron acceleration and applications
→ Laser-driven Ion acceleration and applications
→ Laser developments
Main Activities carried out in our group
Alessandro FREGOSI (term)
Daniele PALLA (term)
Simona PICCININI (term)
Martina SALVADORI (term)
Federico AVELLA (PhD student)
David GREGOCKI (PhD student)
Simon VLACHOS (PhD student)
Caterina MOZZO (PhD student)
Gianluca CELLAMARE (associated)

## Slide 4: ILIL: Group Members and Activities
Evento:
→ Laser-Plasma Interaction in condition relevant for ICF
→ Laser-driven electron acceleration and applications
→ Laser-driven Ion acceleration and applications
→ Laser developments
construction undergoing as we speak…
Main Activities carried out in our group
*also at INFN
New high-dose underground
bunker
Follow P. Koester Talk on Thursday 5th at 10 am
«Fusion energy research with high power lasers in Europe: the HiPER+ programme»
Leonida A. GIZZI* (Head of lab)
Fernando BRANDI
Gabriele CRISTOFORETTI
Petra KOESTER
Luca LABATE*
Federica BAFFIGI
Lorenzo FULGENTINI
Gabriele BANDINI (term)
Mohamed EZZAT (term)
Alessandro FREGOSI (term)
Daniele PALLA (term)
Simona PICCININI (term)
Martina SALVADORI (term)
Federico AVELLA (PhD student)
David GREGOCKI (PhD student)
Simon VLACHOS (PhD student)
Caterina MOZZO (PhD student)
Gianluca CELLAMARE (associated)

## Slide 5: In this Talk:
Laser Driven Ion Acceleration
    Brief Introduction and Basic concepts
    Applications Material Analysis & Radioisotope production
Laser Driven Electron Acceleration
Brief Introduction and Basic concepts
Application to UHDR radiotherapy
DESY/Science Communication Lab
A. Macchi, Rev. Mod. Phys. 85, 751

## Slide 6: Laser-Driven electron Acceleration: wake field generation
Why plasma-based accelerator ?
• Possibility to reach extremely high acceleration gradients → Compactness
• Short temporal duration of the accelerated e- bunch
The acceleration mechanism relies on the excitation of plasma waves: In laser-driven acceleration the driver of the perturbation is the laser.
wake
Laser
Underdense Plasma
The electric field of the laser exerts a force on
ions and electrons
Electrons, being lighter, cover a larger distance
→Charge separation is induced
Electrons starts to oscillate around the equilibrium position with the characteristic

## Slide 7: Laser-Driven electron Acceleration: wakefield generation
According to the laser intensity it is possible to distinguish among two different regimes:
• Linear regime
• Non- Linear regime
E. Esarey et al., RevModPhys 81 (2009)
Wavebreaking

## Slide 8: Laser wakefield acceleration: Blow-out Regime and Self Injection
High intensity laser exerts ponderomotive forces on plasma charges, the high intensity allows for complete depletion of electrons from the axis.
The empting zone is referred to as the «bubble»
As the laser pulse propagates in the plasma, electrons are accumulated at the rear side of the bubble
In this region the accelerating electric field can be strong enough to trap background plasma electrons in the bubble → Self Injection

## Slide 9: Laser wakefield acceleration: Blow-out Regime
Courtesy of F. Avella.
Laser propagation direction

## Slide 10: Laser wakefield acceleration: Blow-out Regime
Courtesy of F. Avella.
Laser propagation direction
self injection relies on trapping background plasma electrons → electrons on the tail of thermal distribution may have a sufficient momentum to be on a trapped orbit
Different methods have been proposed to control the injection process so to achieve higher quality electron bunches (i.e. laser triggered injection, density tailoring…)
→ High energy spread and emittance
G. Costa NIMA 909 (2018)

## Slide 11: Laser wakefield acceleration: Ionization Injection
Ionization triggered injection is achieved by ionizing deeply bounded electrons of an high atomic number gas at a proper phase inside the laser driven wakefield
Chen, PoP 19,033101 (2012)
→ The idea is to irradiate a gas mixture made primarly of a low Z gas (i.e. 99% H) with a small amount of a high Z gas (i.e. 1% N).
The ionization of the low Z gas, achieved by the leading edge of the laser, will generate the plasma wave oscillations. On the other hand, the inner shell electrons of the high-Z gas require an higher electric field to be ionized → near the peak of the laser intensity. Therefore they are ionized, pomptly trapped and accelerated.
→ high quality beams with lower energy spread and emittance of accelerated electrons is achieved

## Slide 12: Laser Wakefield Acceleration at ILIL
Circular aperture 2 mm
1018 Wcm-2
3 J in 27 fs
800 nm
e-
Output window
Supersonic flow of Helium Gas with 1% Nitrogen
LWFA Ionization Injection
Operative electron density
Interaction Chamber
Beam Size and Pointing
Beam Charge
Beam Spectra
Dose and DPP

## Slide 13: Laser Wakefield Acceleration at ILIL
Beam Size and Pointing stability
cm, cm at 60 cm from the source
mm, mm
Beam Charge
D. Gregocki Instruments 2025, 9(4), 25
Beam Spectra
Dose and DPP
S.G. Vlachos NIMA 1082:2 (2026)
Cumulating 120 shots
Lanex
Mirror
Camera
Magnetic
dipole
collimator
Courtesy of S. Piccinini

## Slide 14: Laser Wakefield Acceleration at ILIL
Beam Size and Pointing stability
cm, cm at 60 cm from the source
mm, mm
Beam Charge
D. Gregocki Instruments 2025, 9(4), 25
Beam Spectra
Dose and DPP
S.G. Vlachos NIMA 1082:2 (2026)
Cumulating 120 shots
Lanex
Mirror
Camera
Magnetic
dipole
collimator
Courtesy of S. Piccinini
Approaching regimes relevant for radiotherapy in Ultra High dose Rate and FLASH regime with VHEE

## Slide 15: LWFA VHEE for UHDR radiotherapy
L. Labate et al, Sci Rep 10, 17307 (2020).
VHEE (50 MeV < E < 250 MeV):
+ Suitable for deep-seated tumors
+ Sharp beam penumbra
+ Low sensitivity to inhomogeneities
- High entrance and exit dose
Main objective: damage enhancement to the targeted volume (cancer cells) while sparing the nearby tissues and OAR (organ at risk)
→ Need for dosimetric characterization
Investigation of dose deposition in complex geometry such as Multi Field Irradiation (MFI) and Intensity Modulation (IM) schemes.
120 pc/shot
Spectral energy distribution within 50-250 MeV
C. M. V. Panaino Cancers 2025, 17(2), 181

## Slide 16: LWFA VHEE for UHDR radiotherapy
L. Labate et al, Sci Rep 10, 17307 (2020).
Multi Field Irradiation
Intensity Modulation
GAF chromic sandwiched in 2 mm Polycarbonate disks
Rotating Cylinder along the z-axis,
accumulating same number of shots every 40 rotation
Targeted volume received:
→ 2.5 times the entrance dose,
→ 3-4 times the dose in the surrounding volume,
→ 16 times the exit dose.
Irradiation Map → 3 mm x 4 mm matrix
Each slot received a different number of shots
→ Possibility to have a localized dose deposition
Measured dose gradient both in the x and y direction

## Slide 17: VHEE for FLASH radiotherapy
FLASH-RT: delivering high doses in an extremely short irradiation time (Dose rate > 40 Gy/s)
Evaluation of the dose-response curve of Peripheral blood lymphocytes DNA damage due to laser-guided ultra-high dose rate VHEE pulses irradiation
Radiobiological endpoints
Micronucleus Test
Telomere Shortening
e- beam
Radiochromic Films
Sample
VHEE FLASH-RT → dosimetric characteristic combined to the sparing capability of FLASH
LWFA-VHEE → Extremely short bunch duration
Human peripherical blood irradiation
Courtesy of G. Bandini
Output window
Sample holder
with lanex screen

## Slide 18: LWFA for FLASH radiotherapy
Micronucleus Test: gold standard for evaluating radiation-induced chromosomal damage.
The assessment cover both targeted and bystander effects.
Telomere Shortening: Analysis of telomere length as an indicator of radiation-induced genomic instability.
Courtesy of S. Piccinini, A. Borghini
* All p<0.05 vs. control value

## Slide 19: Many mechanisms investigated, many results obtained…

## Slide 20: Laser Driven Ion Acceleration
F. Albert et al 2021 New J. Phys. 23 031101
Short, high power laser interacting with solid thin targets (flat foil, nanostructured, ultrathin foil…)
Depending on the specific laser parameters and target characteristics different acceleration mechansim can prevail
TNSA

## Slide 21: Laser Driven Ion Acceleration
H. Daido et al Rep. Prog. Phys. 75 056401 (2012)
→ Broad energy spectra (exponential-like)
→ Ultrashort duration near the source
→ Up to 1013 accelerated protons
→ Energy dependent beam divergence
Most commn properties in Laser-accelerated protons:
Typical TNSA spectrum

## Slide 22: Laser Driven Ion Acceleration
H. Daido et al Rep. Prog. Phys. 75 056401 (2012)
→ Broad energy spectra (exponential-like)
→ Ultrashort duration near the source
→ Up to 1013 accelerated protons
→ Energy dependent beam divergence
Typical TNSA spectrum
Most commn properties in Laser-accelerated protons:
But there are exception, RPA and CSA provide peaked spectra
M.Zepf et al. 37th EPS Conference on Plasma Physics (2010)

## Slide 23: Application of Laser-driven protons
Medical
Material Science
Fusion
→ Damage study
→ Ion Beam Analysis:
    Particle Induced X-Ray Emission
→ Fast Ignition Scheme
→ Proton-Boron scheme
→ Hadrontherapy
→ Radioisotope production for PET scan
And many others….
Neutron science
→ Compact neutron source

## Slide 24: Application of Laser-driven protons
Medical
Material Science
Fusion
→ Damage study
→ Ion Beam Analysis:
    Particle Induced X-Ray Emission
→ Fast Ignition Scheme
→ Proton-Boron scheme
→ Hadrontherapy
→ Radioisotope production for PET scan
And many others….
Neutron science
→ Compact neutron source
Laser-driven proton beam is used to irradiate a volume of enriched water inducing the 18O(p,n)18F reaction.
Laser-driven proton beam is used to irradiate the sample to characterize. The energetic particles generates inner-shell vacancies with subsequent emission of characteristic radiation during the de-excitation.

## Slide 25: Particle Induced X-ray Emission
Energetic particles are used to irradiate the sample to characterize. The impinging particles interacting with the material generate inner-shell vacancies as a consequence of the ejection of an electron. The vacancy is filled via the transition from an upper level with subsequent emission of characteristic radiation during the de-excitation.
M
K-shell
L
The Analysis of the emitted characteristic radiation allows to retrieve both the chemical elements in the sample and their concentrations.
Proton energies in the range 2-5 MeV are suitable for this application
Technique relevant for Cultural Heritage, Industry, biology, forensic analysis…
Several shots are needed to reach resolution comparable to existing technique → toward high rep rate

## Slide 26: Particle Induced X-ray Emission
M. Salvadori et al, Phys. Rev. Applied 21, 064020 (2024), F. Brandi et al., Appl. Sci., 11(14), 6358 (2021)
LASER
400 mJ on target
27 fs temporal duration
I 4 1019 Wcm-2
TNSA-Target
MBL
Brass Sample
CCD-X
OAP
M1
M2

## Slide 27: Radioisotope production for PET
E. Hess Radiochim. Acta 89,
357 (2001)
Short-lived radioisotope production for Positron Emission Tomography (PET) 11C , 18F , 13N , 15O …
Fluorine-18 combined with 2-deoxyglucose: FDG → FDG absorbed and 18F decays:
annihilates emitting with 511 keV energy in opposite directions
Sample of enriched water
Laser-driven proton source
M. Conti et al. EJNMMI Physics 3, 8 (2016), M. Seimetz et al. IEEE –NSS/MIC (2015), Z. Sun AIP Advances 11, 040701(2021)
on site and on demand production
Main proton Spectral range contributing to the reaction
2.5 MeV production treshold
No emission during the decay
min: reduced patient exposition
Non toxic
low energy, short range before annihilation

## Slide 28: Radioisotope production for PET
3 J on target
27 fs duration
21020 Wcm-2
@ 0.3 Hz
85 shots accum.
45 minutes
15.6 uL of
[18O]-H2O @98%
50 um Mylar window
Irradiation
sample
Activity
5 (0.6) Bq
0.03 Hz
Production of small (single-patient), «on demand» doses using microfluidic chips

## Slide 29: Radioisotope production for PET
3 J on target
27 fs duration
21020 Wcm-2
@ 0.3 Hz
85 shots accum.
45 minutes
15.6 uL of
[18O]-H2O @98%
50 um Mylar window
Irradiation
sample
Activity
5 (0.6) Bq
0.03 Hz
Production of small (single-patient), «on demand» doses using microfluidic chips
Results used as benchmark for Montecarlo Simulation to evaluate the capabilities in terms of sample activation employing the 1J, 25 fs laser operating at 100 Hz (currently under procurement)
Tens of MBq activities are foreseen
Suitable to be used with novel Total Body PET machine

## Slide 30: CONCLUSION
A (very) brief description of the main mechanisms underlying particle acceleration driven by laser has been given. For electrons we focus on Laser-wakefield acceleration in the bubble regime exploiting self and ionization injection. For protons, Target Normal Sheath Acceleration has been taken as reference, being the most studied and robust technique, since routinely achievable in laboratories.
Laser-driven particle accelerators can be fruitfully used for diverse applications ranging from material studies for cultural heritage to medicine. In this talk a brief overview of those that are being explored at the Intense Laser Irradiation Laboratory of the CNR-INO in Pisa was given.
Ongoing laser systems and laboratory major upgrade aims primarily at enabling applications requiring a high average flux of particles exploiting high repetition rate systems.

## Slide 31
This work was supported by the PNRR MUR project IR0000016-I-PHOQS, funded by the European Union –Next Generation EU.
And EuPRAXIA Advanced Photon Sources - EuAps (IR0000030, CUP I93C21000160006).
Infrastructure Development
Laser Development
This work was supported by the PNRR MUR project IR0000016-I-PHOQS, funded by the European Union –Next Generation EU.
Experimental investigation on biomedicine
This work was supported by the EU Horizon IFAST, under Grant Agreement No.101004730
Advanced Photon Sources

## Slide 32: Laser-Driven electron Acceleration: wakefield generation
• Linear regime
E. Esarey et al., RevModPhys 81 (2009)
The density perturbation, as well as the axial wakefield (accelerating field), have a sinusoidal form characterized by the plasma wavelength
The amplitude of the accelerating field:
→
Cold non-relativistic wakebreaking field
According to the laser intensity it is possible to distinguish among two different regimes:

## Slide 33: Laser-Driven electron Acceleration: wakefield generation
According to the laser intensity it is possible to distinguish among two different regimes:
• Linear regime
• Non- Linear regime
E. Esarey et al., RevModPhys 81 (2009)

## Slide 34: Laser-Driven electron Acceleration: wakefield generation
According to the laser intensity it is possible to distinguish among two different regimes:
E. Esarey et al., RevModPhys 81 (2009)
• Non- Linear regime
The density profile steepens becoming highly peaked → The axial electric field approaches a «sawtooth» profile
In this regime → electrons oscillation become so large that electrons can escape the collective motion (wavebreaking)

## Slide 35: LWFA: main limitations and maximum energy gain
Diffraction

## Slide 36: LWFA: main limitations and maximum energy gain
Diffraction
Dephasing Lenght
As the electron gain energy it will approach the limit Since the phase velocity of the plasma wave is lower than the speed of light, the electrons will reach a decelerating region of the plasma wave
per
per
per
Pump Depletion
As the laser propagates in the plasma, it transfers its energy to the plasma wave. The pump depletion length is defined as the distance over which the laser has lost its power
per
Beam Loading
Maximum energy gain: an ideal estimate
→ Can be obtained multiplying the accelerating field with the maximum accelerating length, i.e. the shorter between and →
Diffraction
limited
The accelerated electron bunch will, in turn, generate a wake. This will be out of phase with respect to the laser-driven wake → limitation on beam current and bunch quality
Preformed plasma channel
Relativistic Self Focusing
Issue mitigation →

## Slide 37: VHEE spectrum UHDR

## Slide 38: Electron Beam manipulation: Magnetic Beamline
Magnetic Beamline main effects:
Enhance pointing stability
Energy selector
Reducing beam size
Average beam size:
0.60 0.44 cm
Pointing stability deviations:
Geant4
C. M. V. Panaino L. Labate
mm, 0.46 mm